1

ATTACH SADDLE TO MAIN

“ALWAYS FOLLOW SADDLE MANUFACTURER’S INSTRUCTIONS”

2

ATTACH CORPORATION TO SADDLE

“ALWAYS FOLLOW CORPORATION MANUFACTURER’S INSTRUCTIONS”

3

ATTACH TAP AND THEN ROTATE COCK ON CORPORATION TO OPEN POSITION

ENSURE YOU HAVE THE CORRECT FITTING TAP FOR THE CORPORATION YOU ARE USING,                                                                   AND IT IS SECURELY FASTENED

4

SLOWLY DRILL THROUGH ONE WALL OF THE MAIN.  SLUG IS TRAPPED BETWEEN SAW.

“ALWAYS FOLLOW PIPE MANUFACTURER’S INSTRUCTIONS”

5

RETRACT HOLE SAW AND CLOSE THE COCK ON THE CORPORATION

6

REMOVE TAP.  CORPORATION IS READY FOR USE!